## List1
HER data base ID | Manufacturer | Product type / name | Product description (English) | Energy label | Capacity [I] | Annual energy consumption [kWh/a]:
HWST_1 | TESY | TESY V 500 75 F42 P4 | Buffer tanks for heating systems | C | 500
HWST_2 | TESY | TESY V 400 75 F42 P4 | Buffer tanks for heating systems | C | 400
HWST_3 | TESY | TESY V 300 65 F41 | Buffer tanks for heating systems | B | 300
HWST_4 | TESY | TESY V 200 60 F40 | Buffer tanks for heating systems | B | 200
HWST_5 | TESY | TESY EV 15/7S2 500 75 | Floor standing hot water storage tank with 2 heat exchangers | C | 500
HWST_6 | TESY | TESY EV 10/7S2 300 65 | Floor standing hot water storage tank with 2 heat exchangers | B | 294
HWST_7 | TESY | TESY EV 7/5 S2 200 60 | Floor standing hot water storage tank with 2 heat exchangers | B | 200
HWST_8 | TESY | TESY EV 9S 200 60 | Floor standing hot water storage tank with 2 heat exchangers | B | 200
HWST_9 | SOLARICO | SOLARICO UNIQUBE TYPE SQ-BPSW 440 | Storage tank combining functions of solar storage tank, domestic water heater, stratification, solar support for a heating system and electric heater backup | A | 413
HWST_10 | SOLARICO | SOLARICO UNIQUBE TYPE SQ-BPSW 310 | Storage tank combining functions of solar storage tank, domestic water heater, stratification, solar support for a heating system and electric heater backup | A | 290
HWST_11 | BOSCH | SK 300-1 SOLAR | Indirectly heated hot water storage tank, "plus" series | B | 300
HWST_12 | KODSAN | KAT 500 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard. Insulation is in accordance with EN 15332 Energy Efficiency Standard, 42 kg/m³ water based hard PU (HCFC-Free) foam | C | 500
HWST_13 | KODSAN | KAT 400 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard. Insulation is in accordance with EN 15332 Energy Efficiency Standard, 42 kg/m³ water based hard PU (HCFC-Free) foam | C | 400
HWST_14 | KODSAN | KAT 300 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard. Insulation is in accordance with EN 15332 Energy Efficiency Standard, 42 kg/m³ water based hard PU (HCFC-Free) foam | C | 300
HWST_15 | KODSAN | KAT 200 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard. Insulation is in accordance with EN 15332 Energy Efficiency Standard, 42 kg/m³ water based hard PU (HCFC-Free) foam | B | 200
HWST_16 | KODSAN | KAT 160 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard. Insulation is in accordance with EN 15332 Energy Efficiency Standard, 42 kg/m³ water based hard PU (HCFC-Free) foam | B | 160
HWST_17 | KODSAN | KAT 100 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard. Insulation is in accordance with EN 15332 Energy Efficiency Standard, 42 kg/m³ water based hard PU (HCFC-Free) foam | B | 100
HWST_18 | KODSAN | KSS 400 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard. Insulation is in accordance with EN 15332 Energy Efficiency Standard, 42 kg/m³ water based hard PU (HCFC-Free) foam | C | 400
HWST_19 | KODSAN | KSS 300 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard. Insulation is in accordance with EN 15332 Energy Efficiency Standard, 42 kg/m³ water based hard PU (HCFC-Free) foam | C | 300
HWST_20 | KODSAN | KSS 200 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard. Insulation is in accordance with EN 15332 Energy Efficiency Standard, 42 kg/m³ water based hard PU (HCFC-Free) foam | C | 200
HWST_21 | KODSAN | KSS 150 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard. Insulation is in accordance with EN 15332 Energy Efficiency Standard, 42 kg/m³ water based hard PU (HCFC-Free) foam | C | 150
HWST_22 | KODSAN | KXS 500 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard. Insulation is in accordance with EN 15332 Energy Efficiency Standard, 42 kg/m³ water based hard PU (HCFC-Free) foam | C | 500
HWST_23 | KODSAN | KXS 300 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | C | 300
HWST_24 | KODSAN | KXS 200 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | C | 200
HWST_25 | KODSAN | KXS 160 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | C | 160
HWST_26 | KODSAN | KBS 500 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | C | 500
HWST_27 | KODSAN | KBS 400 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | C | 500
HWST_28 | KODSAN | KBS 300 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | C | 300
HWST_29 | KODSAN | KBS 200 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | B | 200
HWST_30 | KODSAN | KBS 160 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | B | 160
HWST_31 | KODSAN | KBS 100 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | B | 100
HWST_32 | KODSAN | KBD 500 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | C | 500
HWST_33 | KODSAN | KBD 400 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | C | 400
HWST_34 | KODSAN | KBD 300 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | C | 300
HWST_35 | KODSAN | KBD 200 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | B | 200
HWST_36 | KODSAN | KBD 160 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | B | 160
HWST_37 | KODSAN | KBD-B 500 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | C | 500
HWST_38 | KODSAN | KBD-B 400 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | C | 400
HWST_39 | KODSAN | KBD-B 300 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | C | 300
HWST_40 | KODSAN | KBD-B 200 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | B | 200
HWST_41 | KODSAN | KBD-B 160 | Tank inner surface is enamelled (glass-lined) in accordance with DIN 4753-3 standard.Insulation is in accordance with EN 15332 Energy Efficiency Standard | B | 160
HWST_42 | SONNENKRAFT,AUSTRIA | SONNENKRAFT,AUSTRIA | The PSC-E tank can cover up to 40% of your heating and up to 80% of your hot water demand. It is a part of the COMFORT E Plus solution together with an intelligent fresh water module, a high efficient stratification module and an optional heating circuit module. All developed to fit perfectly together. Capacity:995 Diameter, insulated:990 Height, insulated:2140 Weight (without insulation):150 Heat loss rate according EN12977:3.46 | C | 1000
HWST_43 | SONNENKRAFT,AUSTRIA | PSC-E TANK 800L | The PSC-E tank can cover up to 40% of your heating and up to 80% of your hot water demand. It is a part of the COMFORT E Plus solution together with an intelligent fresh water module, a high efficient stratification module and an optional heating circuit module. All developed to fit perfectly together. Capacity:995 Diameter, insulated:990 Height, insulated:2140 Weight (without insulation):150 Heat loss rate according EN12977:3.46 | C | 800
HWST_44 | SONNENKRAFT,AUSTRIA | DEPOZIT PSC1000-E | The PSR-E tank can cover up to 30% of your heating and 80% of your hot water demand. It is a part of the COMFORT E solution together with an intelligent fresh water module and a high efficient solar pump station. All developed to fit perfectly together. Capacity:920 Diameter, insulated:990 Height, insulated:2135 Weight (without insulation):150 Heat loss rate according EN12977:3.59 | C | 1000
HWST_45 | SONNENKRAFT,AUSTRIA | DEPOZIT PSC800-E | The PSR-E tank can cover up to 30% of your heating and 80% of your hot water demand. It is a part of the COMFORT E solution together with an intelligent fresh water module and a high efficient solar pump station. All developed to fit perfectly together. Capacity:780 Diameter, insulated:990 Height, insulated:1780 Weight (without insulation):135Heat loss rate according EN12977:3.31 | C | 800
HWST_46 | SONNENKRAFT,AUSTRIA | DEPOZIT PSR1000-E | The PSR-E tank can cover up to 30% of your heating and 80% of your hot water demand. It is a part of the COMFORT E solution together with an intelligent fresh water module and a high efficient solar pump station. All developed to fit perfectly together. Capacity:500 Diameter, insulated:850 Height, insulated:1720 Weight (without insulation):120 Heat loss rate according EN12977:2.67 | C | 500
HWST_47 | SONNENKRAFT,AUSTRIA | DEPOZIT PSR800-E | The PSR-E tank can cover up to 30% of your heating and 80% of your hot water demand. It is a part of the COMFORT E solution together with an intelligent fresh water module and a high efficient solar pump station. All developed to fit perfectly together. Capacity:400 Diameter, insulated:770 Height, insulated:1800 Weight (without insulation):105 Heat loss rate according EN12977:2.37 | C | 400
HWST_48 | SONNENKRAFT,AUSTRIA | DEPOZIT PSR500-E | The new PS-E tank is the optimal solution for storing energy in larger installations. The new fleece insulation contains up to 70% recycled material and reduces the heat losses by 20%. Tanks up to 1000l use the classic and elegant polystyrol surface while the larger tanks are equipped with a flexible foil surface including the easy mountable zip fastener. PS800E/1000E can be connected in parallel with PSC800E/1000E or with PSR800E/1000E. TECHNICAL DATA PS5000E Capacity:4967 Diameter, insulated:1840 Height insulated : 2915 Weight (without insulation):585 standing loss:- energy efficiency class : - | C | 5000
HWST_49 | SONNENKRAFT,AUSTRIA | DEPOZIT PSR400-E | The new PS-E tank is the optimal solution for storing energy in larger installations. The new fleece insulation contains up to 70% recycled material and reduces the heat losses by 20%. Tanks up to 1000l use the classic and elegant polystyrol surface while the larger tanks are equipped with a flexible foil surface including the easy mountable zip fastener. PS800E/1000E can be connected in parallel with PSC800E/1000E or with PSR800E/1000E. TECHNICAL DATA PS3000E Capacity:2670 Diameter, insulated:1490 Height insulated : 2535 Weight (without insulation):295 standing loss:- energy efficiency class : - | C | 3000
HWST_50 | SONNENKRAFT,AUSTRIA | DEPOZIT PS5000-E | The new PS-E tank is the optimal solution for storing energy in larger installations. The new fleece insulation contains up to 70% recycled material and reduces the heat losses by 20%. Tanks up to 1000l use the classic and elegant polystyrol surface while the larger tanks are equipped with a flexible foil surface including the easy mountable zip fastener. PS800E/1000E can be connected in parallel with PSC800E/1000E or with PSR800E/1000E. TECHNICAL DATA PS2000E Capacity:2006 Diameter, insulated:1300 Height insulated : 2410 Weight (without insulation):245 standing loss:- energy efficiency class : - | C | 2000
HWST_51 | SONNENKRAFT,AUSTRIA | DEPOZIT PS3000-E | The new PS-E tank is the optimal solution for storing energy in larger installations. The new fleece insulation contains up to 70% recycled material and reduces the heat losses by 20%. Tanks up to 1000l use the classic and elegant polystyrol surface while the larger tanks are equipped with a flexible foil surface including the easy mountable zip fastener. PS800E/1000E can be connected in parallel with PSC800E/1000E or with PSR800E/1000E. TECHNICAL DATA PS1500E Capacity:1425 Diameter, insulated:1200 Height insulated : 2150 Weight (without insulation):170 standing loss:166 energy efficiency class : C | C | 1500
HWST_52 | SONNENKRAFT,AUSTRIA | DEPOZIT PS2000-E | The new PS-E tank is the optimal solution for storing energy in larger installations. The new fleece insulation contains up to 70% recycled material and reduces the heat losses by 20%. Tanks up to 1000l use the classic and elegant polystyrol surface while the larger tanks are equipped with a flexible foil surface including the easy mountable zip fastener. PS800E/1000E can be connected in parallel with PSC800E/1000E or with PSR800E/1000E. TECHNICAL DATA PS1000E Capacity:920 Diameter, insulated:990, Height insulated : 2120 Weight (without insulation) :121 standing loss:134 energy efficiency class : C | C | 1000
HWST_53 | SONNENKRAFT,AUSTRIA | DEPOZIT PS1500-E | The new PS-E tank is the optimal solution for storing energy in larger installations. The new fleece insulation contains up to 70% recycled material and reduces the heat losses by 20%. Tanks up to 1000l use the classic and elegant polystyrol surface while the larger tanks are equipped with a flexible foil surface including the easy mountable zip fastener. PS800E/1000E can be connected in parallel with PSC800E/1000E or with PSR800E/1000E. TECHNICAL DATA PS1000E Capacity:920 Diameter, insulated:990, Height insulated : 2120 Weight (without insulation) :121 standing loss:134 energy efficiency class : C | C | 800
HWST_54 | SONNENKRAFT,AUSTRIA | DEPOZIT PS1000-E | DHW/ELBis a special hot water tank for special system desingns, e.g. for large sized systems.The removable high effective fleece insulation jacket simplifies transport into boiler room. | C | 750
HWST_55 | SONNENKRAFT,AUSTRIA | DEPOZIT PS800-E | The new domestic hot water tank DHW from SONNENKRAFT with its modern and clean design is an attractive investment for households with limited room for a solar installation but a maximum demand for efficiency. The tank is directly fitted with a cfc-free insulation that minimizes heat losses and its cover can be cleaned easily. A hydraulic assembly designed by SONNENKRAFT especially for this tank can be mounted quickly. This hydraulic group is pre-assembled and internally wired up reducing time and costs for cabling and tubing. The solar connections on the tank are situated next to each other, which allows an easy installation with double tubing. Furthermore the required expansion vessel may also be mounted directly to the tank. The integrated controller is already programmed which allows a plug & flow start up of the system. The tank is also available with a second heat exchanger in cases where a supplementary heat source is required. It can also be fitted out with an electric heater. | C | 500
HWST_56 | SONNENKRAFT,AUSTRIA | SOLAR BOILER DHW 400R3 | The new domestic hot water tank DHW from SONNENKRAFT with its modern and clean design is an attractive investment for households with limited room for a solar installation but a maximum demand for efficiency. The tank is directly fitted with a cfc-free insulation that minimizes heat losses and its cover can be cleaned easily. A hydraulic assembly designed by SONNENKRAFT especially for this tank can be mounted quickly. This hydraulic group is pre-assembled and internally wired up reducing time and costs for cabling and tubing. The solar connections on the tank are situated next to each other, which allows an easy installation with double tubing. Furthermore the required expansion vessel may also be mounted directly to the tank. The integrated controller is already programmed which allows a plug & flow start up of the system. The tank is also available with a second heat exchanger in cases where a supplementary heat source is required. It can also be fitted out with an electric heater. | C | 400
HWST_57 | SONNENKRAFT,AUSTRIA | SOLAR BOILER DHW 400R3 | The new domestic hot water tank DHW from SONNENKRAFT with its modern and clean design is an attractive investment for households with limited room for a solar installation but a maximum demand for efficiency. The tank is directly fitted with a cfc-free insulation that minimizes heat losses and its cover can be cleaned easily. A hydraulic assembly designed by SONNENKRAFT especially for this tank can be mounted quickly. This hydraulic group is pre-assembled and internally wired up reducing time and costs for cabling and tubing. The solar connections on the tank are situated next to each other, which allows an easy installation with double tubing. Furthermore the required expansion vessel may also be mounted directly to the tank. The integrated controller is already programmed which allows a plug & flow start up of the system. The tank is also available with a second heat exchanger in cases where a supplementary heat source is required. It can also be fitted out with an electric heater. | C | 300
HWST_58 | SONNENKRAFT,AUSTRIA | SOLAR BOILER DHW 400R2 | The new domestic hot water tank DHW from SONNENKRAFT with its modern and clean design is an attractive investment for households with limited room for a solar installation but a maximum demand for efficiency. The tank is directly fitted with a cfc-free insulation that minimizes heat losses and its cover can be cleaned easily. A hydraulic assembly designed by SONNENKRAFT especially for this tank can be mounted quickly. This hydraulic group is pre-assembled and internally wired up reducing time and costs for cabling and tubing. The solar connections on the tank are situated next to each other, which allows an easy installation with double tubing. Furthermore the required expansion vessel may also be mounted directly to the tank. The integrated controller is already programmed which allows a plug & flow start up of the system. The tank is also available with a second heat exchanger in cases where a supplementary heat source is required. It can also be fitted out with an electric heater. | C | 200
HWST_59 | GORENJE | NGROHES UJI I KOMBINUAR | Hot water storage tanks | C | 300
HWST_60 | GORENJE | NGROHES UJI I KOMBINUAR | Hot water storage tanks | C | 200
HWST_61 | VAILLANT | UNISTOR VIH R 500/3 BR | Indirectly heated hot water storage tank, "plus" series | B | 500 | 650
HWST_62 | LEOV | LEOV | Hot water storage tanks | B | 500 | -
HWST_63 | LEOV | LEOV | Hot water storage tanks | B | 400 | -
HWST_64 | LEOV | LEOV | Hot water storage tanks | B | 300 | -
HWST_65 | LEOV | LEOV | Hot water storage tanks | B | 250 | -
HWST_66 | LEOV | LEOV | Hot water storage tanks | B | 200 | -
HWST_67 | LEOV | LEOV | Hot water storage tanks | B | 150 | -
HWST_68 | LEOV | LEOV | Hot water storage tanks | B | 120 | -
HWST_69 | VAILLANT | ACTOSTOR VIH K 300 | Indirectly heated hot water storage tank | B | 150 | 537
HWST_70 | VAILLANT | UNISTOR VIH QL 75 B | Indirectly heated layered hot water storage tank | B | 72 | 329
HWST_71 | VAILLANT | UNISTOR VIH Q 75 B | Indirectly heated layered hot water storage tank | B | 68 | 329
HWST_72 | VAILLANT | UNISTOR VIH R 200/6 M | Indirectly heated hot water storage tank | A | 200 | 303
HWST_73 | VAILLANT | UNISTOR VIH R 150/6 M | Indirectly heated hot water storage tank | A | 150 | 281
HWST_74 | VAILLANT | UNISTOR VIH R 120/6 M | Indirectly heated hot water storage tank | A | 117 | 270
HWST_75 | VAILLANT | UNISTOR VIH R 200/6 B | Indirectly heated hot water storage tank | B | 200 | 252
HWST_76 | VAILLANT | UNISTOR VIH R 150/6 B | Indirectly heated hot water storage tank | B | 150 | 230
HWST_77 | VAILLANT | UNISTOR VIH R 120/6 B | Indirectly heated hot water storage tank | B | 117 | 226
HWST_78 | VAILLANT | UNISTOR VIH RW 200 HP DHW STORE | Indirectly heated hot water storage tank | B | 200 | 657
HWST_79 | VAILLANT | UNISTOR VIH SW 500/3 MR | Solar bivalent hot water storage tank, "exclusive" series | A | 500 | 504
HWST_80 | VAILLANT | UNISTOR VIH SW 400/3 MR | Solar bivalent hot water storage tank, "exclusive" series | A | 400 | 449
HWST_81 | VAILLANT | UNISTOR VIH SW 500/3 BR | Solar bivalent hot water storage tank, "exclusive" series | B | 500 | 676
HWST_82 | VAILLANT | UNISTOR VIH SW 400/3 BR | Solar bivalent hot water storage tank, "exclusive" series | B | 400 | 577
HWST_83 | VAILLANT | UNISTOR VIH RW 500/3 MR | Indirectly heated hot water storage tank, "exclusive" series | A | 500 | 380
HWST_84 | VAILLANT | UNISTOR VIH RW 400/3 MR | Indirectly heated hot water storage tank, "exclusive" series | A | 400 | 424
HWST_85 | VAILLANT | UNISTOR VIH RW 300/3 MR | Indirectly heated hot water storage tank, "exclusive" series | A | 300 | 384
HWST_86 | VAILLANT | UNISTOR VIH RW 500/3 BR | Indirectly heated hot water storage tank, "exclusive" series | B | 500 | 672
HWST_87 | VAILLANT | UNISTOR VIH RW 400/3 BR | Indirectly heated hot water storage tank, "exclusive" series | B | 400 | 562
HWST_88 | VAILLANT | UNISTOR VIH RW 300/3 BR | Indirectly heated hot water storage tank, "exclusive" series | B | 300 | 511
HWST_89 | VAILLANT | AUROSTOR VIH S 500/3 MR | Solar bivalent hot water storage tank, "exclusive" series | B | 500 | 504
HWST_90 | VAILLANT | AUROSTOR VIH S 400/3 MR | Solar bivalent hot water storage tank, "exclusive" series | A | 400 | 446
HWST_91 | VAILLANT | AUROSTOR VIH S 300/3 MR | Solar bivalent hot water storage tank, "exclusive" series | A | 300 | 405
HWST_92 | VAILLANT | AUROSTOR VIH S 500/3 BR | Solar bivalent hot water storage tank, "exclusive" series | B | 500 | 654
HWST_93 | VAILLANT | AUROSTOR VIH S 400/3 BR | Solar bivalent hot water storage tank, "exclusive" series | B | 400 | 559
HWST_94 | VAILLANT | AUROSTOR VIH S 300/3 BR | Solar bivalent hot water storage tank, "exclusive" series | B | 300 | 511
HWST_95 | VAILLANT | UNISTOR VIH R 500/3 MR | Indirectly heated hot water storage tank, "exclusive" series | A | 500 | 478
HWST_96 | VAILLANT | UNISTOR VIH R 400/3 MR | Indirectly heated hot water storage tank, "exclusive" series | A | 400 | 446
HWST_97 | VAILLANT | UNISTOR VIH R 300/3 MR | Indirectly heated hot water storage tank, "exclusive" series | A | 300 | 424
HWST_98 | VAILLANT | UNISTOR VIH R 400/3 BR | Indirectly heated hot water storage tank, "exclusive" series | B | 400 | 555
HWST_99 | VAILLANT | UNISTOR VIH R 300/3 BR | Indirectly heated hot water storage tank, "exclusive" series | B | 300 | 511
HWST_100 | VAILLANT | DEPOZIT PSC1000-E | The PSC-E tank can cover up to 40% of your heating and up to 80% of your hot water demand. It is a part of the COMFORT E Plus solution together with an intelligent fresh water module, a high efficient stratification module and an optional heating circuit module. All developed to fit perfectly together. Capacity:995 Diameter, insulated:990 Height, insulated:2140 Weight (without insulation):150 Heat loss rate according EN12977:3.46 | C | 1000 | 9
HWST_101 | VAILLANT | DEPOZIT PSC800-E | The PSC-E tank can cover up to 40% of your heating and up to 80% of your hot water demand. It is a part of the COMFORT E Plus solution together with an intelligent fresh water module, a high efficient stratification module and an optional heating circuit module. All developed to fit perfectly together. Capacity:810 Diameter, insulated:990 Height, insulated:1860 Weight (without insulation):111Heat loss rate according EN12977:3.12 | C | 800 | 8
HWST_102 | SONNENKRAFT,AUSTRIA | DEPOZIT PSR1000-E | The PSR-E tank can cover up to 30% of your heating and 80% of your hot water demand. It is a part of the COMFORT E solution together with an intelligent fresh water module and a high efficient solar pump station. All developed to fit perfectly together. Capacity:920 Diameter, insulated:990 Height, insulated:2135 Weight (without insulation):150 Heat loss rate according EN12977:3.59 | C | 1000 | 9
HWST_103 | SONNENKRAFT,AUSTRIA | DEPOZIT PSR800-E | The PSR-E tank can cover up to 30% of your heating and 80% of your hot water demand. It is a part of the COMFORT E solution together with an intelligent fresh water module and a high efficient solar pump station. All developed to fit perfectly together. Capacity:780 Diameter, insulated:990 Height, insulated:1780 Weight (without insulation):135Heat loss rate according EN12977:3.31 | C | 800 | 8
HWST_104 | SONNENKRAFT,AUSTRIA | DEPOZIT PSR500-E | The PSR-E tank can cover up to 30% of your heating and 80% of your hot water demand. It is a part of the COMFORT E solution together with an intelligent fresh water module and a high efficient solar pump station. All developed to fit perfectly together. Capacity:500 Diameter, insulated:850 Height, insulated:1720 Weight (without insulation):120 Heat loss rate according EN12977:2.67 | C | 500 | 6
HWST_105 | SONNENKRAFT,AUSTRIA | DEPOZIT PSR400-E | The PSR-E tank can cover up to 30% of your heating and 80% of your hot water demand. It is a part of the COMFORT E solution together with an intelligent fresh water module and a high efficient solar pump station. All developed to fit perfectly together. Capacity:400 Diameter, insulated:770 Height, insulated:1800 Weight (without insulation):105 Heat loss rate according EN12977:2.37 | C | 400 | 5
HWST_106 | SONNENKRAFT,AUSTRIA | DEPOZIT PS5000-E | The new PS-E tank is the optimal solution for storing energy in larger installations. The new fleece insulation contains up to 70% recycled material and reduces the heat losses by 20%. Tanks up to 1000l use the classic and elegant polystyrol surface while the larger tanks are equipped with a flexible foil surface including the easy mountable zip fastener. PS800E/1000E can be connected in parallel with PSC800E/1000E or with PSR800E/1000E. TECHNICAL DATA PS5000E Capacity:4967 Diameter, insulated:1840 Height insulated : 2915 Weight (without insulation):585 standing loss:- energy efficiency class : - | C | 5000 | 45
HWST_107 | SONNENKRAFT,AUSTRIA | DEPOZIT PS3000-E | The new PS-E tank is the optimal solution for storing energy in larger installations. The new fleece insulation contains up to 70% recycled material and reduces the heat losses by 20%. Tanks up to 1000l use the classic and elegant polystyrol surface while the larger tanks are equipped with a flexible foil surface including the easy mountable zip fastener. PS800E/1000E can be connected in parallel with PSC800E/1000E or with PSR800E/1000E. TECHNICAL DATA PS3000E Capacity:2670 Diameter, insulated:1490 Height insulated : 2535 Weight (without insulation):295 standing loss:- energy efficiency class : -- | C | 3000 | 27
HWST_108 | SONNENKRAFT,AUSTRIA | DEPOZIT PS2000-E | The new PS-E tank is the optimal solution for storing energy in larger installations. The new fleece insulation contains up to 70% recycled material and reduces the heat losses by 20%. Tanks up to 1000l use the classic and elegant polystyrol surface while the larger tanks are equipped with a flexible foil surface including the easy mountable zip fastener. PS800E/1000E can be connected in parallel with PSC800E/1000E or with PSR800E/1000E. TECHNICAL DATA PS2000E Capacity:2006 Diameter, insulated:1300 Height insulated : 2410 Weight (without insulation):245 standing loss:- energy efficiency class : - | C | 2000 | 15
HWST_109 | SONNENKRAFT,AUSTRIA | DEPOZIT PS1500-E | The new PS-E tank is the optimal solution for storing energy in larger installations. The new fleece insulation contains up to 70% recycled material and reduces the heat losses by 20%. Tanks up to 1000l use the classic and elegant polystyrol surface while the larger tanks are equipped with a flexible foil surface including the easy mountable zip fastener. PS800E/1000E can be connected in parallel with PSC800E/1000E or with PSR800E/1000E. TECHNICAL DATA PS1500E Capacity:1425 Diameter, insulated:1200 Height insulated : 2150 Weight (without insulation):170 standing loss:166 energy efficiency class : C | C | 1500 | 11
HWST_110 | SONNENKRAFT,AUSTRIA | DEPOZIT PS1000-E | The new PS-E tank is the optimal solution for storing energy in larger installations. The new fleece insulation contains up to 70% recycled material and reduces the heat losses by 20%. Tanks up to 1000l use the classic and elegant polystyrol surface while the larger tanks are equipped with a flexible foil surface including the easy mountable zip fastener. PS800E/1000E can be connected in parallel with PSC800E/1000E or with PSR800E/1000E. TECHNICAL DATA PS1000E Capacity:920 Diameter, insulated:990, Height insulated : 2120 Weight (without insulation) :121 standing loss:134 energy efficiency class : C | C | 1000 | 9
HWST_111 | SONNENKRAFT,AUSTRIA | DEPOZIT PS800-E | The new PS-E tank is the optimal solution for storing energy in larger installations. The new fleece insulation contains up to 70% recycled material and reduces the heat losses by 20%. Tanks up to 1000l use the classic and elegant polystyrol surface while the larger tanks are equipped with a flexible foil surface including the easy mountable zip fastener. PS800E/1000E can be connected in parallel with PSC800E/1000E or with PSR800E/1000E. TECHNICAL DATA PS800E Capacity:789 Diameter, insulated:990, Height insulated : 1835 Weight (without insulation) :121 standing loss:124 energy efficiency class : C | C | 800 | 8
HWST_112 | VAILLANT,Germany | aroSTOR VWL BM 290/4 | The product operates at air temperatures between -7 °C and +35 °C. Outside of this temperature range, domestic hot water generation is only possible when using an additional power infeed (heating coil). | A | 290 | 9